## Sheet1
Sample | avg. library size (bp) | ng/ul | nM | vol to pool (uL) | femtomol (fmol) (this is the nM * uL pooled)
sample1 | 407 | 1.46 | 5.4352 | 10 | 54.3519
sample2 | 459 | 5.25 | 17.3302 | 3.1363 | 54.3519
sample3 | 466 | 6.74 | 21.9144 | 2.4802 | 54.3519
sample4 | 662 | 9.54 | 21.8347 | 2.4892 | 54.3519
sample5 | 530 | 12.4 | 35.4488 | 1.5332 | 54.3519
sample6 | 530 | 11.8 | 33.7336 | 1.6112 | 54.3519
sample7 | 617 | 5.02 | 12.3275 | 4.409 | 54.3519
sample8 | 504 | 16.3 | 49.0019 | 1.1092 | 54.3519
sample9 | 562 | 10.1 | 27.2296 | 1.9961 | 54.3519
sample10 | 684 | 3.9 | 8.639 | 6.2914 | 54.3519
|  |  |  | total pool femtomol | 543.5187
|  |  |  | total pool volume (uL) | 35.0558
|  |  |  | total pool nM | 15.5044
Protocol for pooling based on molarity:
1. Convert to nM using your ng/ul from HS Qubit and your average size (bp) from Tapestation/Bioanalyzer/etc.
2. Pick a set volume for either your most dilute library (lowest nM) or most concentrated library, and calculate the rest based on this. For example, sample1 is the most dilute above (highlighted in green). Set its volume to pool as 10 uL (or volume of choice).
3. Multiply the nM value (nmol/liter, or fmol/uL) by the volume pooled (uL), to get the number of femtomols being pooled for your most dilute sample. In this case, you're pooling 54.35 fmol from sample1.
4. Calculate the volume to pool for your remaining samples by dividing the femtomols from your most dilute sample by the nM of each sample. So in this case, you'd divide 54.35 fmol by the nM of each other sample to calculate the volume to pool for each.
5. As in step 3, calculate the femtomols pooled for each individual sample. This step is simply to check your math, to make sure you haven't mistyped/miscalculated anything. You should have the same value for all samples. In the example, they're all 54.35.
6. Verify that all of your volumes to pool are realistic. If any are too high (require more library than you have) or are too low to pipet accurately, then adjust the volume you used in step 2 and recalculate your other values.
7. Calculate your expected nM for your pool by summing up the total femtomols and dividing by the total volume.
Important Considerations:
For MiSeq V3 chemistry, ideally your pool will be at least 4 nM.
For MiSeq V2 chemistry, ideally your pool will be at least 2 nM.
For HiSeq or NovaSeq, refer to the guidelines of your sequencing core. At a minimum, they will request at least 4 nM.
Instead of doing your calculations based on the most dilute sample, you can base them on your most concentrated sample if preferred (and set a low volume for it, such as 0.5 uL). Regardless, the same rules apply with regards to calcuating equal femtomols and ensuring all volumes are feasible.
Updated 18-April-22 by Katie Murphy